EPICS
iThemba LABS
What is EPICS?
How does it work?
Demonstration!
Can we use it?
Problems we face!
[Speaker Notes: This presentation will deal with various things about epics and will try to explain EPICS in a simple way but give enough detail so that you can find your way after this. It will also try to answer question as to how we can use it.]

---
What is EPICS?
Experimental Physics and Industrial Control System
EPICS Base = Network Data System
Records (more on this later)
Hardware control (drivers)
Operator Interfaces
EPICS extensions (more on this later)
[Speaker Notes: EPICS is a fairly complex and comprehensive system. It can not be easily explained in one sentence. In the very core EPICS is a data (base) system that can distribute data and messages over the network. This is offcourse a very incomplete theory of what EPICS does. Lets first look at the very core of what EPICS is and then later we can look at all the extensions available out there.]

---
Global Collaboration
Began in 1989 between LANL/GTA & ANL/APS
Only became open source later
Used in more than 8 major facilities world wide
EPICS collaboration meeting held every so often
Many people contributing (including us)

---
EPICS Base
At the core EPICS is simply a program/tool to manage data in a network transparent environment.
data is organized into records
EPICS DataBase is not relational (not SQL)
Data can be accessed from anywhere (Channel Access)
Other usefull functionality

---
Global view
This is the overview of the system - simplified
The most important part of EPICS is in the Server and how the Server and client communicates.

---
Client interfaces
Different programs are available
OPI = Operator Inteface
General: MEDM
Many extension programs work as clients.

---
The IOC – overview
The IOC communicates with the hardware
The IOC provides PV's (process variables) to the rest of the network (clients)
It has an EPICS database in which all active records of this IOC are located
Can run on Linux, RTEMS and Windows (cygwin is used under windows)
Provides a local console interface
Uses a startup script to load and initialize

---
The IOC - diagram

---
Device Support & Asyn
The layer that is between Records and hardware.
Provides an extra layer to seperate Record functionality from hardware functionality.
Asyn is a library that provides functionality to create drivers with standard record interfaces
Synchronous and Asynchronous support

---
The IOC - Database
Not a relational database!
Contains the EPICS records
Database configuration done in .db text file. (Can be done with some visualization programs)
Database description in .dbd file (text)
The database setup is static and the IOC must be restarted to change it.

---
Records
A structure with Data fields
Has a unique name (PV name)
There are many standard usefull records
Record fields can be accessed from anywhere
Record can perform special functions ie. they are not just static data containers)
Records can be linked to other records

---
Record - diagram

---
Record fields
A field contains data
Different types of data supported
(int,string,float) – Arrays on all types
There are standard fields:
NAME, VAL, PROC, SCAN ect
Fields can be monitored (CA – later)

---
Record processing
Records can perform processing. Function depends on record types.
When: Scan Rates / Passive / IO Intr
Can perform calculations/conversions/etc
Can trigger other records to be processed
Some records does special processing if certain fields are modified

---
Record Alarms
Most Records have an alarm status and severity
Can be monitored and logged by special Alarm handler program.
e.g. Analog Input Record
Can be set to generate alarm if value goes too high or too low. Supports 2 alarm levels

---
Some standard Records
Analog in/out
Binary in/out
Calc
Waveform
Sequence
PID control
to name but a few. (Custom records can be created if needed)

---
Process Variables (PVs)
A PV is a channel access ID to access a specific field of a specific record
e.g. RF1:amplitude.VAL
.VAL is the default field (if not specified)
Command line utilities available to do basic Channel Access. (put/get/monitor)

---
Record link example

---
The Sequencer
The sequencer is a state machine program
Compiled to native C code – very fast
Complex functionality on records
Can run inside IOC or as a client program
Fairly easy to write. (C type syntax called SNL)

---
Operator Interfaces
Any client program can access any record from any IOC on the local network.
Interfaces can be created with MEDM. (Motif GUI)
Other client programs exists for special functions:
Alarm handlers
Strip Tool
ect

---
MEDM Examples

---
Channel Access

---
Channel Access - Function
Finding PVs (Using broadcasting search messages)
After a PV has been located a single TCP/IP connection is made between the client and server
CA server – usually an IOC but anything that provides PVs to the network
CA client – usually an OPI but anything that uses CA to access PVs

---
Channel Access - Function
Reading Data from PVs (Over TCP/IP)
Writing Data into PVs (Over TCP/IP)
Monitoring PVs:
Client request monitors (subscribing)
Servers has list of monitors (client list)
When value changes Server sends message to all clients
Clients then reads new data
Can monitor data/limits/alarms/time

---
Channel Access - Other
Connections can be lost or PVs not found or not available
Automatic Type conversion
Scales to network throughput (data loss)
Only searches local network – Needs EPICS gateways to go beyond
Standard C library (Threading capable)

---
EPICS extensions
Many extensions exist with specialized and general functionality
Backup and Restore utility (BURT)
Channel Access Save Restore (autosave/ChannelWatcher)
Channel Archiver
Alarm handler
Array display tool
CMLOG – Message Log system

---
EPICS extensions
auto save (Keep variables across Power-Down)
Channel Watcher
StripTool (Plot PVs over Time)
Gateway (used to link PVs across sub-nets)
probe (simply wathes/proves a PV)
SDDS (self describing data sets)
PHP / Python / Java / Matlab / LabView interfaces
MEDM (Display manager)
Histogram Tool
More Available

---
Bringing it together
The players:
Hardware
IOC's (Controlling computers)
OPI's (Operator Interfaces)
Other client programs. (eg Alarm Handler)

---
Global overview
Can have multiple IOC's
1 IOC per machine
Many client programs
Scalable
Hardware link can also be ethernet

---
SDDS
Self Describing Data Sets
Complex powerfull system on top of EPICS
Data Analyzing/Collection
Complex Process Control
Higher level Control than general EPICS
Complex, big, powerful and flexible
Used by many other extensions

---
SDDS - more
SDDS = Standardized way to store data
Many tools available to ”process” data
Data can come from many different sources. EPICS / simulation / matlab ect
Data can be visualized in many ways. (Programs can be generic)

---
SDDS Concept
We have Data – can store in text file/spreadsheet
Try to organize – headers?
SDDS access data by name
Spreadsheet is owned by 1 program
Any SDDS tool can work with SDDS data – extra/missing data will not break programs
SDDS contains information about data types and so on
Allows programs/systems to evolve without breaking code

---
SDDS and EPICS
Data can be collected from EPICS
at intervals
event driven
alarm logging
save/restore of EPICS data
Control of EPICS
feedback control
optimization

---
SDDS - Diagram

---
Questions?
Any questions at this time?
About half way to finish :)

---
EPICS in action
Vlinac – simulation
IOC console
MEDM
Alarm Handler
StripTool
Python Script
Scanners maybe

---
CMLOG screenshot

---
Learning EPICS
As you can see there is a steep learning curve
Luckily not everybody needs to learn everything!
But on the other hand even end-users and operators will need to learn something
Guided learning wiki page: http://medsvr.tlabs.ac.za/epics:learn
Specific to operators: http://medsvr.tlabs.ac.za/epics:operatoreducation

---
RECAP :)

---
RECAP :}
EPICS Base (core system / DB / network)
Records (Fields / PVs / Processing)
IOC (Server / DB / Hardware – CA)
Device Support
Channel Access (Data over network)
OPI (MEDM / Alarm Handler)
SDDS (Data Collection & Analysis)

---
RF system Overview

---
RF System - IOC

---
EPICS Community
Global Community
Many contributors
Support YES! (mailing list)
Open Source (this is good!)
Lots of Expertise

---
What can we do? ...so far
SABUS diff driver
Support for SABUS: 24-bit IO, Stepper Motor &
ADC-16(ECS43) (working on PSC)
Can speak to rabbits (DDS control) (BETA)
Bridge to the variable table (BETA)
Busy developing RF system (SPC1FT) – ready for implementation
Python inside IOC (used for RF system)
National Instruments driver
Comedi driver – now fully functional
Scanners (custom record ect)
Wiki: http://medsvr.tlabs.ac.za/epics
This list is growing!!!

---
Can we use it?
We certainly CAN!
It provides a very Good BASE system for us to use.
Support provided through mailing list
Linux is a good platform for control systems
Many things can be done without programming (db setup, interface creation, log systems)
It is however not a plug-and-play solution

---
Problems - hardware
Most of our hardware is custom made
This requires custom device drivers and sometimes custom records to be created
Not all our hardware was designed with EPICS in mind and therefore is sometimes difficult to control.

---
Problems - OPI
The MEDM program uses a fairly outdated GUI
Developing a Qt interface will take time
On the bright side, MEDM can easily run on windows (Or that's what it claims)
Even with MEDM creating interfaces takes time and effort

---
A QT client program?
Not absolutely necessary
BUT would be absolutely GREAT!
Roadmap: (Not final!)
Making a link between QT and CA
Creating some custom widgets for PV display/control
Linking QT with CMLOG
Extending Designer and creating tools for easy custom interface creation with QT
Maybe have some way to convert old MEDM screens?
linking with SDDS

---
Problems – Programming
It is true that a lot of things can be done without programming, and alot has already been done.
But programming will need to be done.
IOC's are to be written in C/C++. (No DotNet/c#/garbage collection)
Client programs can be done in Python
(SDDS also has many tools)

---
Problems - general
EPICS does have a steep learning curve
Everybody who works with the system will need to understand some basics, can't just put people in front of a screen
As this will be a large project there must be good project management on a much larger scale. (Documentation etc)

---
Questions?
Any Questions related to EPICS in general or EPICS at iThemba LABS?
Further information at:
http://medsvr.tlabs.ac.za/epics
Documentation and everything else linked from there
Need for a more indepth/specialized presentation for developers?

---
Thank you